## Data
Tag Number | Unit/Module | Safety Designator | System | Comm Grp Code | Parent Tag | Component Function Name (CFN) | Description | Load UOM | Approved Est. Load | Est. Load Reference Document | PID Drawing No. | Meter & Relay (E1) | MCC Schedule (EC) | Dist Panel (EA) | Area /VNS | Facility/BLDG | Location Elev/Area | Q-List (Y/N) | Approved Seismic Class | Approved Elec Quality Group | Approved Quality Class | Approved AQ Class | Commodity Code | Manufacturer | Model No | Vendor Drawing | Material Req No | PO Number | Digital Device (DD) | CDA Assessment Document Number | Critical Digital Asset (CDA) | Import Status | Message
01-A-ACL-EC-311A | 01 | A | ACL | EC |  | 1-A-ACL--311A | MOTOR STARTER | [7 empty] | 1267 | 12 | 43 | Y | [13 empty] | Success
01-A-ACL-EC-312A | 01 | A | ACL | EC |  | 1-A-ACL--312A | MOTOR STARTER | [7 empty] | 11243 | 12 | 43 | Y | [13 empty] | Success
01-A-ACL-EC-313A | 01 | A | ACL | EC |  | 1-A-ACL--313A | MOTOR STARTER | [7 empty] | 11243 | 12 | 43 | Y | [13 empty] | Success
01-A-ACL-EC-314A | 01 | A | ACL | EC |  | 1-A-ACL--314A | MOTOR STARTER | [7 empty] | 11243 | 12 | 43 | Y | [13 empty] | Success
01-A-ACV-ET-012A | 01 | A | ACV | ET |  | 1-A-ACV--12A | 480V-120V 15KVA RVT 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-A-ACV-ET-018A | 01 | A | ACV | ET |  | 1-A-ACV--18A | RVT 25KVA | [10 empty] | Y | [13 empty] | Success
01-A-ACV-EV-011A | 01 | A | ACV | EV |  | 1-A-ACV--11A | 120V AC INVERTER 15KVA 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-A-ACV-EV-017A | 01 | A | ACV | EV |  | 1-A-ACV--17A | INVERTER 25KVA | [10 empty] | Y | [13 empty] | Success
01-A-ACV-EY-011A | 01 | A | ACV | EY |  | 1-A-ACV--11A | REMOTE BYPASS SWITCH | [10 empty] | Y | [13 empty] | Success
01-A-ACV-EY-018A | 01 | A | ACV | EY |  | 1-A-ACV--18A | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-A-DC-ED-011A | 01 | A | DC | ED |  | 1-A-DC--11A | BATTERY CHARGER 125V 300A | [10 empty] | Y | [13 empty] | Success
01-A-DC-ED-012A | 01 | A | DC | ED |  | 1-A-DC--12A | 125V BATTERY 24HR 120 CELLS 3500AH | [10 empty] | Y | [13 empty] | Success
01-A-DC-ED-017A | 01 | A | DC | ED |  | 1-A-DC--17A | CHARGER | [10 empty] | Y | [13 empty] | Success
01-A-DC-ED-018A | 01 | A | DC | ED |  | 1-A-DC--18A | BATTERY 1E | [10 empty] | Y | [13 empty] | Success
01-A-DC-ENN-012A | 01 | A | DC | ENN |  | 1-A-DC--12A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-A-DC-ENN-018A | 01 | A | DC | ENN |  | 1-A-DC--18A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-A-DC-EY-011A | 01 | A | DC | EY |  | 1-A-DC--11A | 125V DC SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
01-A-DC-EY-018A | 01 | A | DC | EY |  | 1-A-DC--18A | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-B-ACL-EC-315B | 01 | B | ACL | EC |  | 1-B-ACL--315B | CLASS 1E COOLANT PUMP MOTOR STARTER | [7 empty] | 11244 | 12 | 44 | Y | [13 empty] | Success
01-B-ACL-EC-316B | 01 | B | ACL | EC |  | 1-B-ACL--316B | CLASS 1E COOLANT PUMP MOTOR STARTER | [7 empty] | 11244 | 12 | 44 | Y | [13 empty] | Success
01-B-ACL-EC-317B | 01 | B | ACL | EC |  | 1-B-ACL--317B | CLASS 1E COOLANT PUMP MOTOR STARTER | [7 empty] | 11244 | 12 | 44 | Y | [13 empty] | Success
01-B-ACL-EC-318B | 01 | B | ACL | EC |  | 1-B-ACL--318B | CLASS 1E COOLANT PUMP MOTOR STARTER | [7 empty] | 11244 | 12 | 44 | Y | [13 empty] | Success
01-B-ACV-EJP-018B | 01 | B | ACV | EY |  | 1-B-ACV--18B | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-B-ACV-ET-012B | 01 | B | ACV | ET |  | 1-B-ACV--12B | 480V-120V 15KVA RVT 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-B-ACV-EV-011B | 01 | B | ACV | EV |  | 1-B-ACV--11B | 120V AC INVERTER 15KVA 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-B-ACV-EY-011A | 01 | B | ACV | EY |  | 1-B-ACV--11A | REMOTE BYPASS SWITCH | [10 empty] | Y | [13 empty] | Success
01-B-DC-ED-011B | 01 | B | DC | ED |  | 1-B-DC--11B | BATTERY CHARGER 125V DC 300A 24HR | [10 empty] | Y | [13 empty] | Success
01-B-DC-ED-012B | 01 | B | DC | ED |  | 1-B-DC--12B | 125V DC BATTERY 24HR 120 CELLS 3500AH | [10 empty] | Y | [13 empty] | Success
01-B-DC-EJP-018B | 01 | B | DC | EY |  | 1-B-DC--18B | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-B-DC-ENN-012A | 01 | B | DC | ENN |  | 1-B-DC--12A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-B-DC-EY-011B | 01 | B | DC | EY |  | 1-B-DC--11B | 125V DC SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
01-C-ACV-ET-012A | 01 | C | ACV | ET |  | 1-C-ACV--12A | 480V-120V 15KVA RVT 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-C-ACV-ET-014A | 01 | C | ACV | ET |  | 1-C-ACV--14A | 480V-120V 7.5KVA RVT 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-C-ACV-EV-011A | 01 | C | ACV | EV |  | 1-C-ACV--11A | 120V AC INVERTER 15KVA 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-C-ACV-EV-013A | 01 | C | ACV | EV |  | 1-C-ACV--13A | 120V AC INVERTER 7.5KVA 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-C-ACV-EY-011A | 01 | C | ACV | EY |  | 1-C-ACV--11A | REMOTE BYPASS SWITCH | [10 empty] | Y | [13 empty] | Success
01-C-ACV-EY-013A | 01 | C | ACV | EY |  | 1-C-ACV--13A | REMOTE BYPASS SWITCH | [10 empty] | Y | [13 empty] | Success
01-C-ACV-EY-018A | 01 | C | ACV | EY |  | 1-C-ACV--18A | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-C-ACV-EY-019A | 01 | C | ACV | EY |  | 1-C-ACV--19A | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-C-DC-ED-011A | 01 | C | DC | ED |  | 1-C-DC--11A | BATTERY CHARGER 125V 300A | [10 empty] | Y | [13 empty] | Success
01-C-DC-ED-012A | 01 | C | DC | ED |  | 1-C-DC--12A | 125V BATTERY 120 CELLS 4400AH 72HR | [10 empty] | Y | [13 empty] | Success
01-C-DC-ED-013A | 01 | C | DC | ED |  | 1-C-DC--13A | BATTERY CHARGER 125V 300A 72HR | [10 empty] | Y | [13 empty] | Success
01-C-DC-ED-014A | 01 | C | DC | ED |  | 1-C-DC--14A | 125V BATTERY 120 CELLS 3500AH 24HR | [10 empty] | Y | [13 empty] | Success
01-C-DC-ENN-012A | 01 | C | DC | ENN |  | 1-C-DC--12A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-C-DC-ENN-014A | 01 | C | DC | ENN |  | 1-C-DC--14A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-C-DC-EY-011A | 01 | C | DC | EY |  | 1-C-DC--11A | 125V DC SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
01-C-DC-EY-013A | 01 | C | DC | EY |  | 1-C-DC--13A | 125V DC SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
01-C-DC-EY-018A | 01 | C | DC | EY |  | 1-C-DC--18A | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-C-DC-EY-019A | 01 | C | DC | EY |  | 1-C-DC--19A | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-D-ACV-EJP-019B | 01 | D | ACV | EY |  | 1-D-ACV--19B | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-D-ACV-ET-012B | 01 | D | ACV | ET |  | 1-D-ACV--12B | 480V-120V 15KVA RVT 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-D-ACV-ET-014B | 01 | D | ACV | ET |  | 1-D-ACV--14B | 480V-120V 7.5KVA RVT 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-D-ACV-EV-011B | 01 | D | ACV | EV |  | 1-D-ACV--11B | 120V AC INVERTER 15KVA 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-D-ACV-EV-013B | 01 | D | ACV | EV |  | 1-D-ACV--13B | 120V AC INVERTER 7.5KVA 1PH 60HZ | [10 empty] | Y | [13 empty] | Success
01-D-ACV-EY-011A | 01 | D | ACV | EY |  | 1-D-ACV--11A | REMOTE BYPASS SWITCH | [10 empty] | Y | [13 empty] | Success
01-D-ACV-EY-013B | 01 | D | ACV | EY |  | 1-D-ACV--13B | REMOTE BYPASS SWITCH | [10 empty] | Y | [13 empty] | Success
01-D-ACV-EY-018B | 01 | D | ACV | EY |  | 1-D-ACV--18B | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-D-DC-ED-011B | 01 | D | DC | ED |  | 1-D-DC--11B | BATTERY CHARGER 125V DC 300A 24HR | [10 empty] | Y | [13 empty] | Success
01-D-DC-ED-012B | 01 | D | DC | ED |  | 1-D-DC--12B | 125V DC BATTERY 24HR 120 CELLS 3500AH | [10 empty] | Y | [13 empty] | Success
01-D-DC-ED-013B | 01 | D | DC | ED |  | 1-D-DC--13B | BATTERY CHARGER 125V DC 300A 72HR | [10 empty] | Y | [13 empty] | Success
01-D-DC-ED-014B | 01 | D | DC | ED |  | 1-D-DC--14B | 125V DC BATTERY 72HR 120 CELLS 4400AH | [10 empty] | Y | [13 empty] | Success
01-D-DC-EJP-019B | 01 | D | DC | EY |  | 1-D-DC--19B | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-D-DC-ENN-012A | 01 | D | DC | ENN |  | 1-D-DC--12A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-D-DC-ENN-014B | 01 | D | DC | ENN |  | 1-D-DC--14B | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-D-DC-EY-011B | 01 | D | DC | EY |  | 1-D-DC--11B | 125V DC SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
01-D-DC-EY-013B | 01 | D | DC | EY |  | 1-D-DC--13B | 125V DC SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
01-D-DC-EY-018B | 01 | D | DC | EY |  | 1-D-DC--18B | FUSE BOX | [10 empty] | Y | [13 empty] | Success
01-N-ACL-EC-031A | 01 | N | ACL | EC |  | 1-N-ACL--31A | MCC | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-031B | 01 | N | ACL | EC |  | 1-N-ACL--31B | MCC | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-033A | 01 | N | ACL | EC |  | 1-N-ACL--33A | 480V MCC 800A 3PH 60HZ 65KA | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-033B | 01 | N | ACL | EC |  | 1-N-ACL--33B | 480V MCC 800A 3PH 60HZ 65KA | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-060A | 01 | N | ACL | EC |  | 1-N-ACL--60A | 480V MCC 800A 3PH 60HZ 65KA | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-060B | 01 | N | ACL | EC |  | 1-N-ACL--60B | 480V MCC 800A 3PH 60HZ 65KVA | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-062A | 01 | N | ACL | EC | 01-N-CCW-MP-001A | 1-N-ACL--62A | 480V MCC 800A 3PH 60HZ 65KVA | HP | 150 | 11111-001-E0C-ACL-00001 | 11111-001-M6-CCW-00001 | N/A | 11111-001-EC-ACL-00001 | 11111-001-EA-ACL-00001 | 11266 | 12 | 66 | N | [7 empty] | 11111-000-V1A-ECM1-00055 | 11111-000-MRA-ECM1-00001 | 11111-000-POA-ECM1-00001 |  | N/A |  | Warning | Attribute Load UOM update failed due to error Object reference not set to an instance of an object.Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.Attribute MCC Schedule (EC) update failed due to error Object reference not set to an instance of an object.Attribute Dist Panel (EA) update failed due to error Object reference not set to an instance of an object.Attribute CDA Assessment Document Number update failed due to error Object reference not set to an instance of an object.
01-N-ACL-EC-062B | 01 | N | ACL | EC |  | 1-N-ACL--62B | 480V MCC 800A 3PH 60HZ 65KVA | [7 empty] | 11266 | 12 | 66 | N | [13 empty] | Success
01-N-ACL-EC-063A | 01 | N | ACL | EC |  | 1-N-ACL--63A | 480V MCC 1200A 3PH 60HZ 65KA | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-063B | 01 | N | ACL | EC |  | 1-N-ACL--63B | 480V MCC 1200A 3PH 60HZ 65KVA | [10 empty] | N | [13 empty] | Success
01-N-ACL-EC-065A | 01 | N | ACL | EC |  | 1-N-ACL--65A | 480V MCC 1200A 3PH 60HZ 65KA | [7 empty] | 11246 | 12 | 46 | N | [13 empty] | Success
01-N-ACL-EC-065B | 01 | N | ACL | EC |  | 1-N-ACL--65B | 480V MCC 1200A 3PH 60HZ 65KVA | [7 empty] | 11246 | 12 | 46 | N | [13 empty] | Success
01-N-ACL-EC-069A | 01 | A | ACL | EC |  | 1-A-ACL--69A | 480V MCC 1600A 3PH 60HZ 65KVA | [7 empty] | 11243 | 12 | 43 | Y | [13 empty] | Success
01-N-ACL-EC-069B | 01 | B | ACL | EC |  | 1-B-ACL--69B | 480V MCC 1600A 3PH 60HZ 65KVA | [7 empty] | 11243 | 12 | 43 | Y | [13 empty] | Success
01-N-ACL-EK-003A | 01 | N | ACL | EK |  | 1-N-ACL--3A | 480V LOAD CENTER | [10 empty] | N | [13 empty] | Success
01-N-ACL-EK-003B | 01 | N | ACL | EK |  | 1-N-ACL--3B | 480V LV SWITCHGEAR | [10 empty] | N | [13 empty] | Success
01-N-ACL-EK-006A | 01 | N | ACL | EK |  | 1-N-ACL--6A | 480V LOAD CENTER | [10 empty] | N | [13 empty] | Success
01-N-ACL-EK-006B | 01 | N | ACL | EK |  | 1-N-ACL--6B | 480V LV SWITCHGEAR | [10 empty] | N | [13 empty] | Success
01-N-ACL-ET-003A | 01 | N | ACL | ET |  | 1-N-ACL--3A | XFMR 3000/4000KVA 4.16KV-480V | [10 empty] | N | [13 empty] | Success
01-N-ACL-ET-003B | 01 | N | ACL | ET |  | 1-N-ACL--3B | XFMR 3000/4000KVA 4.16KV-480V | [10 empty] | N | [13 empty] | Success
01-N-ACL-ET-006A | 01 | N | ACL | ET |  | 1-N-ACL--6A | XFMR 2500/3333KVA 4.16KV-480V | [10 empty] | N | [13 empty] | Success
01-N-ACL-ET-006B | 01 | N | ACL | ET |  | 1-N-ACL--6B | XFMR 2500/3333KVA 4.16KV-480V | [10 empty] | N | [13 empty] | Success
01-N-ACL-ET-006C | 01 | N | ACL | ET |  | 1-N-ACL--6C | XFMR 2500/3333KVA 4.16KV-480V | [10 empty] | N | [13 empty] | Success
01-N-ACL-ET-006D | 01 | N | ACL | ET |  | 1-N-ACL--6D | XFMR 2500/3333KVA 4.16KV-480V | [10 empty] | N | [13 empty] | Success
01-N-ACL-EV-911A | 01 | N | ACL | EV |  | 1-N-ACL--911A | VFD | [10 empty] | N | [13 empty] | Success
01-N-ACL-EV-911B | 01 | N | ACL | EV |  | 1-N-ACL--911B | VFD | [10 empty] | N | [13 empty] | Success
01-N-ACL-EV-912A | 01 | N | ACL | EV |  | 1-N-ACL--912A | VFD | [10 empty] | N | [13 empty] | Success
01-N-ACL-EV-912B | 01 | N | ACL | EV |  | 1-N-ACL--912B | VFD | [10 empty] | N | [13 empty] | Success
01-N-ACL-EV-913B | 01 | N | ACL | EV |  | 1-N-ACL--913B | VFD | [10 empty] | N | [13 empty] | Success
01-N-ACL-EV-914B | 01 | N | ACL | EV |  | 1-N-ACL--914B | VFD | [10 empty] | N | [13 empty] | Success
01-N-ACV-EJP-111B | 01 | N | ACV | EY |  | 1-N-ACV--111B | FUSE BOX | [10 empty] | N | [13 empty] | Success
01-N-ACV-ET-012A | 01 | N | ACV | ET |  | 1-N-ACV--12A | 50KVA RVT | [10 empty] | N | [13 empty] | Success
01-N-ACV-ET-012B | 01 | N | ACV | ET |  | 1-N-ACV--12B | 50KVA RVT | [10 empty] | N | [13 empty] | Success
01-N-ACV-EV-011A | 01 | N | ACV | EV |  | 1-N-ACV--11A | 120V/208V INVERTER 50KVA 3PH 60HZ | [10 empty] | N | [13 empty] | Success
01-N-ACV-EV-011B | 01 | N | ACV | EV |  | 1-N-ACV--11B | 120V/208V INVERTER 50KVA 3PH 60HZ | [10 empty] | N | [13 empty] | Success
01-N-ACV-EY-011A | 01 | N | ACV | EY |  | 1-N-ACV--11A | REMOTE BYPASS SWITCH | [10 empty] | N | [13 empty] | Success
01-N-ACV-EY-011B | 01 | N | ACV | EY |  | 1-N-ACV--11B | REMOTE BYPASS SWITCH | [10 empty] | N | [13 empty] | Success
01-N-ACV-EY-111A | 01 | N | ACV | EY |  | 1-N-ACV--111A | FUSE BOX | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-001A | 01 | N | CRD | EY |  | 1-N-CRD--1A | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-001B | 01 | N | CRD | EY |  | 1-N-CRD--1B | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-002A | 01 | N | CRD | EY |  | 1-N-CRD--2A | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-002B | 01 | N | CRD | EY |  | 1-N-CRD--2B | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-003A | 01 | N | CRD | EY |  | 1-N-CRD--3A | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-003B | 01 | N | CRD | EY |  | 1-N-CRD--3B | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-004A | 01 | N | CRD | EY |  | 1-N-CRD--4A | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-CRD-EY-004B | 01 | N | CRD | EY |  | 1-N-CRD--4B | CRDM RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-DC-ED-011A | 01 | N | DC | ED |  | 1-N-DC--11A | BATTERY CHARGER 125V 800A | [10 empty] | N | [13 empty] | Success
01-N-DC-ED-011B | 01 | N | DC | ED |  | 1-N-DC--11B | BATTERY CHARGER 125V DC 800A | [10 empty] | N | [13 empty] | Success
01-N-DC-ED-012A | 01 | N | DC | ED |  | 1-N-DC--12A | 125V BATTERY 1800AH | [10 empty] | N | [13 empty] | Success
01-N-DC-ED-012B | 01 | N | DC | ED |  | 1-N-DC--12B | 125V DC BATTERY 1800AH | [10 empty] | N | [13 empty] | Success
01-N-DC-EJP-111B | 01 | N | DC | EY |  | 1-N-DC--111B | FUSE BOX | [10 empty] | N | [13 empty] | Success
01-N-DC-EY-011A | 01 | N | DC | EY |  | 1-N-DC--11A | 125V DC SWITCHBOARD 1200A | [10 empty] | N | [13 empty] | Success
01-N-DC-EY-011B | 01 | N | DC | EY |  | 1-N-DC--11B | 125V DC SWITCHBOARD | [10 empty] | N | [13 empty] | Success
01-N-DC-EY-017 | 01 | N | DC | EY |  | 1-N-DC--17 | LINK | [10 empty] | N | [13 empty] | Success
01-N-DC-EY-111A | 01 | N | DC | EY |  | 1-N-DC--111A | FUSE BOX | [10 empty] | N | [13 empty] | Success
01-N-DCS-EWM-004A | 01 | N | DCS | EWM |  | 1-N-DCS--4A | [11 empty] | N | [13 empty] | Success
01-N-FW-MPM-101A | 01 | N | FW | MPM | 01-N-FW-MP-101A | 1-N-FW-MTR-101A | CONDENSATE PUMP Motor |  |  |  |  | 11111-001-M6-FW-10001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGB-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-FW-MPM-101B | 01 | N | FW | MPM | 01-N-FW-MP-101B | 1-N-FW-MTR-101B | CONDENSATE PUMP Motor |  |  |  |  | 11111-001-M6-FW-10001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGB-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-FW-MPM-102A | 01 | N | FW | MPM | 01-N-FW-MP-102A | 1-N-FW-MTR-102A | FEEDWATER PUMP Motor |  |  |  |  | 11111-001-M6-FW-10004 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-FW-MPM-102B | 01 | N | FW | MPM | 01-N-FW-MP-102B | 1-N-FW-MTR-102B | FEEDWATER PUMP Motor |  |  |  |  | 11111-001-M6-FW-10004 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-ICI-EY-001A | 01 | N | ICI | EY |  | 1-N-ICI--1A | INCORE DETECTOR NON 1E | [10 empty] | N | [13 empty] | Success
01-N-ICI-EY-001B | 01 | N | ICI | EY |  | 1-N-ICI--1B | INCORE DETECTOR NON 1E | [10 empty] | N | [13 empty] | Success
01-N-ICI-EY-002A | 01 | N | ICI | EY |  | 1-N-ICI--2A | INCORE DETECTOR NON 1E | [10 empty] | N | [13 empty] | Success
01-N-ICI-EY-002B | 01 | N | ICI | EY |  | 1-N-ICI--2B | INCORE DETECTOR NON 1E | [10 empty] | N | [13 empty] | Success
01-N-RCS-EY-001B | 01 | N | RCS | EY |  | 1-N-RCS--1B | RCP VIBRATION RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-RCS-EY-002A | 01 | N | RCS | EY |  | 1-N-RCS--2A | RCP VIBRATION RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-RCS-EY-002B | 01 | N | RCS | EY |  | 1-N-RCS--2B | RCP VIBRATION RACK NON 1E | [10 empty] | N | [13 empty] | Success
01-N-TBC-MPM-101A | 01 | N | TBC | MPM | 01-N-TBC-MP-101A | 1-N-TBC-MTR-101A | TB COOLING WATER PUMP Motor |  |  |  |  | 11111-001-M6-TBC-10001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-TBC-MPM-101B | 01 | N | TBC | MPM | 01-N-TBC-MP-101B | 1-N-TBC-MTR-101B | TB COOLING WATER PUMP Motor |  |  |  |  | 11111-001-M6-TBC-10001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-TRB-MPM-302 | 01 | N | TRB | MPM | 01-N-TRB-MP-302 | 1-N-TRB-MTR-302 | LUBE OIL TRANSFER PUMP Motor |  |  |  |  | 11111-001-M6-TRB-30001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-TRB-MPM-303A | 01 | N | TRB | MPM | 01-N-TRB-MP-303A | 1-N-TRB-MTR-303A | MAIN (AC) BEARING OIL PUMP A Motor |  |  |  |  | 11111-001-M6-TRB-30001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-TRB-MPM-303B | 01 | N | TRB | MPM | 01-N-TRB-MP-303B | 1-N-TRB-MTR-303B | MAIN (AC) BEARING OIL PUMP B Motor |  |  |  |  | 11111-001-M6-TRB-30001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-N-TRB-MPM-304 | 01 | N | TRB | MPM | 01-N-TRB-MP-304 | 1-N-TRB-MTR-304 | EMERGENCY (DC) BEARING OIL PUMP |  |  |  |  | 11111-001-M6-TRB-30001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGC-00001 |  |  |  |  | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.
01-X-DC-ED-015 | 01 | X | DC | ED |  | 1-X-DC--15 | SPARE BATTERY CHARGER 125V 300A | [10 empty] | Y | [13 empty] | Success
01-X-DC-ED-016 | 01 | X | DC | ED |  | 1-X-DC--16 | SPARE 125V BATTERY 120 CELLS 4400AH | [10 empty] | Y | [13 empty] | Success
01-X-DC-ENN-016 | 01 | X | DC | ENN |  | 1-X-DC--16 | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
01-X-DC-EY-015 | 01 | X | DC | EY |  | 1-X-DC--15 | 125V SWITCHBOARD | [10 empty] | Y | [13 empty] | Success
02-A-ACL-EC-069A | 02 | A | ACL | EC |  | 2-A-ACL--69A | 480V MCC 1600A 3PH 60HZ 65KVA | [7 empty] | 21243 | 12 | 43 | Y | [13 empty] | Success
02-A-ACL-EC-311A | 02 | A | ACL | EC |  | 2-A-ACL--311A | MOTOR STARTER | [7 empty] | 21243 | 12 | 43 | Y | [13 empty] | Success
02-A-ACL-EC-312A | 02 | A | ACL | EC |  | 2-A-ACL--312A | MOTOR STARTER | [7 empty] | 21243 | 12 | 43 | Y | [13 empty] | Success
02-A-ACL-EC-313A | 02 | A | ACL | EC |  | 2-A-ACL--313A | MOTOR STARTER | [7 empty] | 21243 | 12 | 43 | Y | [13 empty] | Success
02-A-ACL-EC-314A | 02 | A | ACL | EC |  | 2-A-ACL--314A | MOTOR STARTER | [7 empty] | 21243 | 12 | 43 | Y | [13 empty] | Success
02-A-ACV-ET-018A | 02 | A | ACV | ET |  | 2-A-ACV--18A | RVT 25KVA | [10 empty] | Y | [13 empty] | Success
02-A-DC-ED-017A | 02 | A | DC | ED |  | 2-A-DC--17A | CHARGER | [10 empty] | Y | [13 empty] | Success
02-A-DC-ED-018A | 01 | C | DC | ED |  | 1-C-DC--12A | BATTERY 1E (C) | [10 empty] | Y | [13 empty] | Success
02-A-DC-ENN-017A | 02 | A | DC | ENN |  | 2-A-DC--17A | DC SWBD | [10 empty] | Y | [13 empty] | Success
02-A-DC-ENN-018A | 02 | A | DC | ENN |  | 2-A-DC--18A | TRANSFER BOX | [10 empty] | Y | [13 empty] | Success
02-B-ACL-EC-069B | 02 | B | ACL | EC |  | 2-B-ACL--69B | 480V MCC 1600A 3PH 60HZ 65KVA | [7 empty] | 21243 | 12 | 43 | Y | [13 empty] | Success
02-B-ACL-EC-315B | 02 | B | ACL | EC |  | 2-B-ACL--315B | [8 empty] | 21244 | 12 | 44 | Y | [13 empty] | Success
02-B-ACL-EC-316B | 02 | B | ACL | EC |  | 2-B-ACL--316B | [8 empty] | 21244 | 12 | 44 | Y | [13 empty] | Success
02-B-ACL-EC-317B | 02 | B | ACL | EC |  | 2-B-ACL--317B | [8 empty] | 21244 | 12 | 44 | Y | [13 empty] | Success
02-B-ACL-EC-318B | 02 | B | ACL | EC |  | 2-B-ACL--318B | [8 empty] | 21244 | 12 | 44 | Y | [13 empty] | Success
02-N-ACL-EC-062A | 02 | N | ACL | EC |  | 2-N-ACL--62A | 480V MCC 800A 3PH 60HZ 65KVA | [7 empty] | 21242 | 12 | 42 | N | [13 empty] | Success
02-N-ACL-EC-062B | 02 | N | ACL | EC |  | 2-N-ACL--62B | 480V MCC 800A 3PH 60HZ 65KVA | [7 empty] | 21242 | 12 | 42 | N | [13 empty] | Success
90-N-TRB-MPM-301 | 90 | N | TRB |  | 90-N-TRB-MPM-301 | 90-N-TRB-MOT-301 | LUBE OIL TRANSFER PUMP Motor |  |  |  |  | 11111-090-M6-TRB-30001 | [5 empty] | N | [8 empty] | 11111-000-MRA-MPGCA-00001 |  |  |  |  | Warning | Template TMP-ELEC--90 for the object does not exist
01-N-CCW-MPM-001A | 01 | N | CCW | MPM | 01-N-CCW-MP-001A | 1-N-CCW-P-1A | CCW PUMP | HP | 150 | 11111-000-M0C-CCW-00006 |  | 11111-001-M6-CCW-00001 | 11111-001-EC-ACL-00001 |  | 11266 | 12 | 66 | N | SC-II | F | N |  | MPCG | [8 empty] | Warning | Attribute Load UOM update failed due to error Object reference not set to an instance of an object.Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.Attribute MCC Schedule (EC) update failed due to error Object reference not set to an instance of an object.
01-N-CCW-MPM-001B | 01 | N | CCW | MPM | 01-N-CCW-MP-001B | 1-N-CCW-P-1B | CCW PUMP |  |  | 11111-000-M0C-CCW-00006 |  | 11111-001-M6-CCW-00001 |  |  | 11266 | 12 | 66 | N | SC-II | F | N |  | MPCG | [8 empty] | Warning | Attribute Meter & Relay (E1) update failed due to error Object reference not set to an instance of an object.